###### Drainage System Inventory

|  |  |  |  |
| --- | --- | --- | --- |
| **GENERAL** |  | ID |  |
| Date |  |  | Time |  |  |  |  |
| Initial (1) |  |  | Initial (2) |  |  |  |  |
| Picture #’s |  |  |  |  |  |  |  |

|  |
| --- |
| **STRUCTURE TYPE** |
| ☐ | Discharging Pipe |  | ☐ | Not Found |
| ☐ | Manhole |  | ☐ | Blind Tie or Tap |
| ☐ | Catch Basin |  | ☐ | Non-point Source (circle below) |
| ☐ | Culvert Outlet |  |  |  \*Seepage |
| ☐ | Point in Open Channel |  |  |  \*Overland flow |

|  |
| --- |
| **OWNERSHIP** |
| ☐ | Enter your name here |  | ☐ | Road Commission  |
| ☐ | Drain Commissioner |  | ☐ | Other |
| ☐ | Private |  | ☐ | Unknown |

|  |
| --- |
| **LOCATION (see back side for location sketch)** |
| Latitude |  |
| Longitude |  |
| Cross-street |  |
| Offset Description |  |
|  |
|  |
| Receiving Waterbody: |  |
| Inventory Comments: |  |

|  |
| --- |
| **CONDUIT INFORMATION** |
| Pipe ID |  |  |  |  |  |  |
| Direction from MH |  |  |  |  |  |  |
| Shape |  |  |  |  |  | N |
| Diameter (in) |  |  |  |  |  |  |
| Width (in) (Open Channel) |  |  |  |  |  |  |
| Depth (in) |  |  |  |  |  |  |
| Measure Down (ft) (Manhole) |  |  |  |  |  |  |
| Invert Elevation (ft) (Pipes) |  |  |  |  |  |  |
| Conduit Material |  |  |  |  |  |  |
| Inlet/Outlet |  |  |  |  |  |  |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Canine hit: | ☐ | Yes |  | ☐ | No |

**LOCATION SKETCH**

|  |
| --- |
| **LOCATION SKETCH CHECKLIST** |
| ☐ | Label street names |
| ☐ | Indicate north |
| ☐ | Locate manholes by dimensions from property lines, back of curb, or edge of pavement |
| ☐ | Sketch catch basins and connections (no measurements necessary) |
| ☐ | Indicate (if possible) distance to upstream and downstream manholes |
| ☐ | Flow direction |
| ☐ | Sample point |
| ☐ | Special access/traffic control notes |
| ☐ | Between mile markers \_\_\_\_ & \_\_\_\_ or \_\_\_\_ tenths past mile marker \_\_\_\_ |
| ☐ | Velocity/depth measure location |

###### Drainage System Screening

|  |  |  |
| --- | --- | --- |
| **GENERAL** | ID |  |
| Date |  |  | Time |  |  | Air Temp |  | Last rain date/time\_\_\_\_\_\_\_\_\_\_ (48-72 hours of dry weather required) |
| Initials |  |  | Chk By |  |  | Rain  |  |  | ☐ | Clear/Sunny |
|  |  |  |  |  |  | ☐ | Yes |  | ☐ | Partly Cloudy |
|  |  |  |  |  |  | ☐ | No |  | ☐ | Overcast |
| **DRY WEATHER FLOW PRESENT** |
| ☐ | Yes, dry weather flow present |
| ☐ | Trace, insufficient flow to sample |
| ☐ | No dry weather flow present |
| ☐ | Standing water |
| ☐ | Submerged |
| ☐ | Inundated |
| ☐ | N/A |

|  |
| --- |
| **FLOW MEASUREMENTS** |
| Pipe Sampled: | Size (in) |  |  | Direction |  |
| Method: | ☐ | Area \* Velocity | **General Data** |  | **Travel Time Trials** |
|  |  |  | Depth (in) |  |  | #1 (sec) |  |
|  |  |  | Dist Traveled (ft) |  |  | #2 (sec) |  |
|  |  |  | Bucket Vol (l) |  |  | #3 (sec) |  |
|  |  |  | Channel slope (%) |  |  | Avg (sec) |  |
|  |  |  | Channel material |  |  | Vel (fps) |  |
|  |  |  | Channel, n |  |  |  |  |
| Flow: |  |  |  |  |  |  |
| Intermittent Flow Check | ☐ | Not checked |  |  |  |
| ☐ | Left sand bag in channel |  |  |  |
| ☐ | Removed sand bag, intermittent DWF present | ☐ | Yes | ☐ | No |
| *If possible, describe frequency, duration, time of day of flow slugs—put in comments section.* |

|  |
| --- |
| **DISCHARGE OBSERVATIONS** *(if “other” checked, fill in description at bottom of page)* |
| **Odor** | **Floatables** | **Deposits/Stains** | **Vegetation** | **Structural** |
| ☐ | None | ☐ | None | ☐ | None | ☐ | None | ☐ | Normal |
| ☐ | Musty | ☐ | Trash | ☐ | Mineral | ☐ | Normal | ☐ | Cracking |
| ☐ | Sewage | ☐ | Sewage | ☐ | Sediment | ☐ | Excessive | ☐ | Spalling |
| ☐ | Rotten Egg | ☐ | Bacterial Sheen | ☐ | Oily | ☐ | Algae | ☐ | Corrosion |
| ☐ | Gas | ☐ | Oil Sheen | ☐ | Grease | ☐ | Slime | ☐ | Settlement |
| ☐ | Oil | ☐ | Suds | ☐ | Suds |  |  | ☐ | Staining |
| ☐ | Other | ☐ | Other | ☐ | Other | ☐ | Other | ☐ | Other |

**Description:**

|  |
| --- |
|  |
|  |
|  |
|  |
| **CHEMICAL ANALYSIS** |
| FIELD ANALYSIS | LAB SAMPLE COLLECTED ID |  |
| Surfactants |  | mg/L (.5) |  | Temperature |  |
| Ammonia (as N) |  | mg/L (1) |  | pH (6-9) |  |
| Hardness |  | mg/L |  | Specific cond. |  |
| Fluoride |  | mg/L |  |  |  |
| E. coli |  | Per 100ml (1000) |  |  |  |

|  |  |
| --- | --- |
| **RESULTS** |  |
| ☐ | Illicit discharge ruled out.  | Date\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ |
| ☐ | Illicit discharge (e.g. undocumented connection)  | Date\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ |
| ☐ | Pending  | Date\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ |
| ☐ | Notify MDEQ | Date\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ |
|  |  |  |

|  |
| --- |
| **ACTION** |
| ☐ | None required, not an illicit discharge |
| ☐ | Illicit discharge eliminated on \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ |
| ☐ | Dye test – Date completed \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ |
| ☐ | Televise – Date completed \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ |
| ☐ | Investigate further – Date completed \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ |
| ☐ | Illicit discharge/connection – Notified responsible party on \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ |

**Comments:**

|  |
| --- |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |